| Date: |  | System Owner: |  |
| --- | --- | --- | --- |
| System Name: |  | Module: |  |
| System GAMP Category: |  | Department: |  |

| SECTION A | GENERAL SYSTEM INFORMATION | PART 11 Section | YES/ NO/ N/A | COMMENTS |
| --- | --- | --- | --- | --- |
| 1. | Does the system create, modify, control, maintain, or transmit e-records/ e-signatures required by GxP rules? If yes, then Part 11 regulations apply. | 11.1(a-f) 11.2 |  |  |
| 2. | Is the system considered a data acquisition tool (DAT) used for GxP purposes, such analysis and reporting to regulatory authorities? | ICH E6(R3) |  |  |
| 3. | Do users directly control user access to this system? - If no, it is an open system; complete Section C - If yes, it is a closed system; skip Section C | 11.10 |  |  |

| SECTION B | REQUIRED CONTROLS (applies to all closed and open systems) | PART 11 Section | YES/ NO/ N/A | COMMENTS |
| --- | --- | --- | --- | --- |
| 4. | Will the system be validated in accordance with lifecycle methodology per established procedures? | 11.10(a) |  |  |
| 5. | Will the system be placed under change control per established procedures once it is placed into production? | 11.10(a) |  |  |
| 6. | Can the system generate accurate and complete copies of records in both human-readable and electronic formats? | 11.10(b) |  |  |
| 7. | Does the system have written procedures for backup, archival, and retrieval and transfer of electronic records? | 11.10(c) |  |  |
| 8. | Are integrity-checking utilities used to verify the accuracy of electronic records that are copied and/or transmitted? | 11.10(c) |  |  |
| 9. | Is stored data checked for accessibility, readability, and accuracy? | 11.10(c) |  |  |
| 10. | Is access to data ensured throughout the retention period? | 11.10(c) |  |  |
| 11. | Are physical and/or logical controls in place to restrict access to the system to authorized persons only? | 11.10(d) |  |  |
| 12. | Does the system automatically disconnect a session or require re-authentication after a pre-defined period of inactivity? | 11.10(d) |  |  |
| 13. | Does the system have system-generated time-date-stamped audit trails that are retained as for long as the electronic records? | 11.10(d) |  |  |
| 14. | Are date-time stamps standardized against a valid time standard? | 11.10(d) |  |  |
| 15. | Do the audit trail records record the time, date, user ID, value, and action when a user creates, modifies, or deletes an electronic record and preserve previously recorded information? | 11.10(c) |  |  |
| 16. | Does the system record the actions of creation, change, and cancellation of access authorization? | 11.10(c) |  |  |
| 17. | Does the system use operational checks to enforce step sequencing? | 11.10(f) |  |  |
| 18. | Is the system used for recording certification and batch release? - If “Yes,” does the system only allow Qualified Persons to certify the release of batches and clearly identify and record the person releasing or certifying the batches? | 11.10(g) |  |  |
| 19. | Does the system use device or built-in checks to verify identity and access privileges of devices or external systems that transfer data or work instructions? | 11.10(h) |  |  |
| 20. | Do the individuals who develop, maintain or use the system have appropriate education or experience and have completed training records? | 11.10(i) |  |  |
| 21. | Are written accountability policies and procedures established and followed to deter electronic record and signature falsification? | 11.10(j) |  |  |
| 22. | Are distribution, access, revision, retention, and use of written system operations and maintenance procedures controlled? | 11.10(k)(1) |  |  |
| 23. | Does the system documentation have written revision control procedures to maintain a time-sequenced audit trail? | 11.10(k)(2) |  |  |
| 24. | Does the system generate appropriate and adequate metadata according to current regulatory requirements? E.g., audit trails | ICH E6(R3) |  |  |

| SECTION C | ADDITIONAL CONTROLS (applies only to open systems) | PART 11 Section | YES/ NO/ N/A | COMMENTS |
| --- | --- | --- | --- | --- |
| 25. | Can the system encrypt electronic records that contain confidential information? | 11.30 |  |  |
| 26. | Does the system use digital signature standards? - If “Yes,” record the name of the standard in the Comments Section. | 11.30 |  |  |

| SECTION D | ELECTRONIC SIGNATURE CONTROLS (applies to systems that use electronic signatures) | PART 11 Section | YES/ NO/ N/A | COMMENTS |
| --- | --- | --- | --- | --- |
| 27. | Do e-signatures show the signer’s printed name? | 11.50(a)(1) |  |  |
| 28. | Do e-signatures show the time and date of execution? | 11.50(a)(2) |  |  |
| 29. | Are date-time stamps standardized against a valid time standard (ex: GMT or UTC)? | 11.50(a)(2) |  |  |
| 30. | Do e-signatures include a meaning associated with each signing? | 11.50(a)(3) |  |  |
| 31. | Do the human-readable forms of e-records display the signer’s name, time-date of execution, and meaning of execution? | 11.50(b) |  |  |
| 32. | Are the e-signatures non-removable, non-modifiable, and an integral part of the e-records? | 11.70 |  |  |
| 33. | Are e-signatures appropriately linked to corresponding electronic records? | 11.70 |  |  |
| 34. | Have the identities of individuals been verified before e-signatures are issued? | 11.100(b) |  |  |
| 35. | Do e-signatures, not based on biometrics, employ two distinct components? (ex: user ID & password) | 11.200(a)(1) |  |  |
| 36. | Does the system require at least one e-signature component to be re-applied during a series of signings in a single controlled session? | 11.200(a)(1)(i) |  |  |
| 37. | Does the system require all e-signature components to be used when a series of signings are not in a single controlled session? | 11.200(a)(1)(ii) |  |  |
| 38. | Is the system capable ensuring that an e-signature is unique and is not reused or reassigned to anyone else? | 11.100(a) & 11.200(a)(2) |  |  |
| 39. | Are biometric-based e-signatures verified to be only usable by their genuine owner? | 11.200(b) |  |  |

| SECTION E | IDENTIFICATION CODES AND PASSWORDS CONTROLS (applies to all systems) | PART 11 Section | YES/ NO/ N/A | COMMENTS |
| --- | --- | --- | --- | --- |
| 40. | Are a combination of ID codes and passwords unique for individual users? | 11.300(a) |  |  |
| 41. | Are ID codes and password issuances periodically checked, recalled, or revised? | 11.300(b) |  |  |
| 42. | Do loss management procedures exist to de-authorize lost, stolen, missing, or otherwise compromised security tokens or cards? | 11.300(c) |  |  |
| 43. | Does the system deactivate (block) a user account after a series (ex: 5 or less) of consecutive failed attempts to login? | 11.300(d) |  |  |
| 44. | Are security tokens/ cards/ devices initially and periodically tested to ensure that they function properly? | 11.300(e) |  |  |

APPROVALS

| PERFORMED BY | PRINTED NAME | SIGNATURE | DATE |
| --- | --- | --- | --- |
| System Owner |  |  |  |
| Information Technology |  |  |  |
| Quality Assurance |  |  |  |