1	PURPOSE

This SOP establishes the requirement that Netramind personnel follow written instructions, manufacturer manuals, and on-screen prompts exactly as specified, in the correct sequence, when performing imaging acquisition and related study procedures. It ensures consistent, reproducible execution of directional steps across sites and operators, minimizing deviations that could compromise image quality, data integrity, or study compliance.

2	SCOPE

This SOP applies to all Netramind personnel who perform image acquisition, equipment operation, or other procedural tasks governed by manufacturer manuals (e.g., MAN-018-02) or study-specific Imaging Acquisition Manuals and Documents (e.g., MAN-018-01). It covers the sequential execution of directional steps, handling of ambiguous instructions, and escalation through the NORC Site Portal. It applies at all Netramind imaging sites and supersedes informal or ad hoc interpretation of instructions.

3	REFERENCES

•	SOP-033 — Following Directions

•	MAN-018-02 — Heidelberg SD-OCT Image Acquisition and File Export Manual - OCU410-301

•	MAN-018-01 — Study-specific Imaging Acquisition Manual and Documents

•	SOP-017 — Audit Trail Review

•	SOP-024 — Business Continuity Planning

4	DEFINITIONS

4.1	SOP — Standard Operating Procedure

4.2	OCT — Optical Coherence Tomography

4.3	OD/OS — Oculus Dexter/Oculus Sinister (right eye/left eye)

4.4	NORC Site Portal — the web-based portal used by sites to access study resources and submit support requests

4.5	Imaging Acquisition Manual — the study-specific document (e.g., MAN-018-01) providing acquisition guidance beyond general manufacturer instructions

4.6	Contact Support — the section of the NORC Site Portal Help tab used to submit questions or issues to study support staff

4.7	MAN-018-02 — Heidelberg SD-OCT Image Acquisition and File Export Manual - OCU410-301

5	RESPONSIBILITIES

5.1	Imaging Technician — performs each directional step in the manufacturer manual (MAN-018-02) and study-specific manual (MAN-018-01) in the exact order specified, without combining or skipping steps.

5.2	Imaging Technician — consults the study-specific Imaging Acquisition Manual and Documents first when a directional step or on-screen prompt is ambiguous.

5.3	Imaging Technician — submits a support request via the NORC Site Portal Help tab Contact Support section when ambiguity remains unresolved after consulting the study-specific manual.

5.4	Site Coordinator — confirms completion of the first eye's scan before instructing the Imaging Technician to proceed to the opposite eye, per MAN-018-02.

5.5	Quality Assurance Reviewer — reviews audit trails per SOP-017 to verify that directional steps were followed in sequence and that deviations, if any, were documented and escalated appropriately.

5.6	Study Support Staff — responds to Contact Support messages submitted through the NORC Site Portal and provides clarification on ambiguous directional steps.

6	PROCEDURE

6.1	1. The Imaging Technician reads the current step of the applicable manual (e.g., MAN-018-02) in full before performing any action.

6.2	2. The Imaging Technician completes one action per step before proceeding to the next step.

6.3	3. The Imaging Technician does not combine or skip steps listed in the manual.

6.4	4. The Imaging Technician verifies that the current step is complete before advancing to the subsequent step.

6.5	5. If the visit requires scanning both eyes, the Imaging Technician confirms that the first eye's scan is complete before repeating the applicable acquisition steps for the opposite eye, per MAN-018-02.

6.6	6. When a directional step or on-screen prompt is ambiguous, the Imaging Technician consults the study-specific Imaging Acquisition Manual and Documents (MAN-018-01) before referring to general FAQ content.

6.7	7. If ambiguity remains after consulting the study-specific manual, the Imaging Technician opens the Help tab in the NORC Site Portal and accesses the Contact Support section.

6.8	8. The Imaging Technician enters a clear description of the question or issue in the Message text area of the Contact Support form.

6.9	9. The Imaging Technician awaits a response from Study Support Staff before proceeding with the ambiguous step, unless otherwise instructed.

6.10	10. The Imaging Technician documents any deviation from the prescribed sequence of directional steps in the site's records for later audit trail review, per SOP-017.

6.11	11. The Quality Assurance Reviewer periodically reviews completed procedures against this SOP to confirm adherence to sequential step execution, per SOP-017.

REVISION HISTORY

| Version Number | Date | Summary of Change(s) |
| --- | --- | --- |
| 01 | 2026-09-17 | Initial draft (pending QA approval) |

SIGNATURE PAGE

[ADD ADDITIONAL ROWS AS NEEDED]

Author:

| NAME | TITLE | SIGNATURE | DATE |
| --- | --- | --- | --- |

Reviewer:

| NAME | TITLE | SIGNATURE | DATE |
| --- | --- | --- | --- |

Approver:

| NAME | TITLE | SIGNATURE | DATE |
| --- | --- | --- | --- |